11.1V Rechargeable Custom Battery Pack

Product number: KPL423465-3S

Cell model: KPL423465

Nominal voltage: 11.1V

Nominal capacity: 1000mAh

Charging voltage: 12.6

Charging current: 1000mA

Discharge current: 1000mA

Discharge cut-off voltage: 6V

Product internal resistance: ≤200mΩ

Charging temperature: 0 ~ 45℃

Discharge temperature: -20 ~ 60℃

Storage temperature: -20 to 25 ° C

Battery case: label

Lithium battery protection: short circuit protection, over charge protection, over discharge protection, over current protection, etc.

Application: Medical devices